Vancouver Island Energy Corporation (“VIEC”)

Application for a Certificate of Public Convenience and Necessity

____for the Vancouver Island Generation Project (“VIGP”)____

Issues List

1.	Vancouver Island Peak and Annual Demand

- Load forecast for Vancouver Island (peak and annual)

- Load forecast for B.C. Hydro system (peak and annual)

- Impact of rate increases and stepped rates on peak and annual loads

- Contracts to reduce peak consumption, such as Rate Schedule 1852

- Power-Smart and other conservation measures

- Curtailment of E-Plus customers

2.	Reliability and Security of Supply

- Criteria for dependable electricity supply

- Generation planning reserve

- Transmission planning criteria

- Robustness of HVAC versus HVDC versus VI gas-fired generation

3.	Vancouver Island Generation

- Green Energy

- Customer Based Generation

- NorskeCanada proposal

- Resource Smart

- Island Cogeneration Plant

2

4.	HVDC Systems

- Firm dependable capacity of HVDC systems

- Cost of maintaining HVDC systems in service

- Extension of dependable life of HVDC systems

5.	New Transmission Systems to Vancouver Island

- Cost and schedule of a new HVDC pole

- Cost and schedule of a new 230 kV AC transmission line

6.	VIGP and GSX Project

- VIGP cost, schedule and sunk costs.

- Outstanding permits and agreements, and potential impacts on project costs

- Related GSX Project and Terasen Gas VI costs

- Terasen Gas VI expansion as an alternative to GSX Project

- VIGP revenue requirements and rate impact

- Financial risks of gas-fired generation

- Sale of the plant, and request for confirmation that CPCN will continue

7.	Economic Comparison of Options

- Methodology, assumptions and alternatives used to develop supply portfolios

- Financing costs

- Natural gas and electricity prices, and gas price sensitivity analysis

- Sunk costs and Terasen Gas VI costs in Portfolio 3

- GSX Project costs in Portfolios 1 and 2

- Value of exports and imports

- Results from portfolio analysis

- Revenue requirements and rate impact comparisons